## Slide 1
New genetic tests for cancer:
why R is a clinical scientist's best friend
Joe Shaw
Clinical Scientist
St Mary’s Hospital, Manchester
joe-m-shaw

## Slide 2
Alice
Patient with neuroblastoma
https://www.childrenwithcancer.org.uk/stories/patient-story-alice-l/
cancer sample
genetic testing
pipeline (bioinformaticians)
manual review (clinical scientists)
result
Task: make a new genetic test for cancer

## Slide 3
Task: make a new genetic test for cancer

## Slide 4
Assess (check it is good enough)
Document (show it is good enough)
Monitor (check it remains good enough)

## Slide 5
joe-m-shaw/
pansolid_cnv_validation

## Slide 6
Genetic results
Excel
readxl
Lab database
SQL
dbplyr
odbc
I need to collate lots of data
ggplot2
dplyr
Other test results
HTML
rvest

## Slide 7
The new test detects gene changes across cancer types

## Slide 8
The new test has a good correlation with a different test

## Slide 9
A clinical scientist should:
“- gather appropriate information
- analyse and critically evaluate the information collected”

## Slide 10
Assess (check it is good enough)
Document (show it is good enough)
Monitor (check it remains good enough)

## Slide 11
My lab has a
very specific document format

## Slide 12
You mean there’s a better way?

## Slide 13
Do you know Quarto?
Who’s Quarto?

## Slide 14
Template
(.docx)
Report
(.docx)
Meets requirements
Transparent
Analysis
(.qmd)
reference-doc:
template.docx

## Slide 15
A clinical scientist should:
“Communicate the outcome of problem-solving and research and developmental activities”

## Slide 16
Assess (check it is good enough)
Document (show it is good enough)
Monitor (check it remains good enough)

## Slide 17
The “winning board”

## Slide 18
output$quality_plot <- renderPlot({ ggplot(data,
aes(x = batch, y = quality)) + geom_boxplot()})
Cause: a manufacturer error

## Slide 19
A clinical scientist should:
“recognise the value of gathering and using data for quality assurance and improvement programmes”

## Slide 20
Assess (check it is good enough)
Document (show it is good enough)
Monitor (check it remains good enough)

## Slide 21
A clinical scientist should:
“identify the limits of their practice and when to seek advice”

## Slide 22
Acknowledgements
Manchester Genetics
Elizabeth Sollars
Eleanor Baker
George Burghel
David Gokhale
Rebecca Hall
Cancer scientists and technicians
Thank you to the NHS-R community
Tom Smith
Luke Shaw